## Sheet1
tag_id | tag_path | producer_id | asset_id | signal_def_id | ims_id | value_type | unit | is_active | created_at | updated_at | asset_path | signal_path
152103 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseB_Active_Energy | 3621 | 9975 | 2964 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseB_Active_Energy
152104 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseA_Active_Energy | 3621 | 9975 | 2964 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseA_Active_Energy
152105 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseC_Active_Energy | 3621 | 9975 | 2964 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseC_Active_Energy
152106 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_Sum_Active_Energy | 3621 | 9975 | 2964 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_Sum_Active_Energy
152107 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_Sum_Active_Energy_Consumed | 3621 | 9975 | 2965 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_Sum_Active_Energy_Consumed
152108 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseC_Active_Energy_Consumed | 3621 | 9975 | 2965 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseC_Active_Energy_Consumed
152109 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseB_Active_Energy_Consumed | 3621 | 9975 | 2965 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseB_Active_Energy_Consumed
152110 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseA_Active_Energy_Consumed | 3621 | 9975 | 2965 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseA_Active_Energy_Consumed
152111 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseB_Active_Energy_Supplied | 3621 | 9975 | 2966 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseB_Active_Energy_Supplied
152112 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseC_Active_Energy_Supplied | 3621 | 9975 | 2966 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseC_Active_Energy_Supplied
152113 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_Sum_Active_Energy_Supplied | 3621 | 9975 | 2966 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_Sum_Active_Energy_Supplied
152114 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseA_Active_Energy_Supplied | 3621 | 9975 | 2966 | CB01 | double | kWh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseA_Active_Energy_Supplied
152115 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Active_Power_Avg | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Active_Power_Avg
152116 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Active_Power | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Active_Power
152117 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Active_Power | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Active_Power
152118 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Active_Power_Avg | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Active_Power_Avg
152119 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Active_Power_Max | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Active_Power_Max
152120 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Active_Power_Min | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Active_Power_Min
152121 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Active_Power | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Active_Power
152122 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Active_Power_Avg | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Active_Power_Avg
152123 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Active_Power_Max | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Active_Power_Max
152124 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Active_Power_Min | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Active_Power_Min
152125 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Active_Power_Max | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Active_Power_Max
152126 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Active_Power_Min | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Active_Power_Min
152127 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Active_Power | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Active_Power
152128 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Active_Power_Avg | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Active_Power_Avg
152129 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Active_Power_Min | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Active_Power_Min
152130 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Active_Power_Max | 3621 | 9975 | 2947 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Active_Power_Max
152131 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Active_Power_Fundamental_Max | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Active_Power_Fundamental_Max
152132 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Active_Power_Fundamental_Avg | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Active_Power_Fundamental_Avg
152133 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Active_Power_Fundamental | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Active_Power_Fundamental
152134 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Active_Power_Fundamental | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Active_Power_Fundamental
152135 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Active_Power_Fundamental_Avg | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Active_Power_Fundamental_Avg
152136 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Active_Power_Fundamental | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Active_Power_Fundamental
152137 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Active_Power_Fundamental_Avg | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Active_Power_Fundamental_Avg
152138 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Active_Power_Fundamental_Max | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Active_Power_Fundamental_Max
152139 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Active_Power_Fundamental_Min | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Active_Power_Fundamental_Min
152140 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Active_Power_Fundamental_Min | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Active_Power_Fundamental_Min
152141 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Active_Power_Fundamental_Max | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Active_Power_Fundamental_Max
152142 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Active_Power_Fundamental_Avg | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Active_Power_Fundamental_Avg
152143 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Active_Power_Fundamental | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Active_Power_Fundamental
152144 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Active_Power_Fundamental_Max | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Active_Power_Fundamental_Max
152145 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Active_Power_Fundamental_Min | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Active_Power_Fundamental_Min
152146 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Active_Power_Fundamental_Min | 3621 | 9975 | 2960 | CB01 | double | kW | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Active_Power_Fundamental_Min
152147 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseB_Apparent_Energy | 3621 | 9975 | 2967 | CB01 | double | kVAh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseB_Apparent_Energy
152148 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseC_Apparent_Energy | 3621 | 9975 | 2967 | CB01 | double | kVAh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseC_Apparent_Energy
152149 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseA_Apparent_Energy | 3621 | 9975 | 2967 | CB01 | double | kVAh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseA_Apparent_Energy
152150 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_Sum_Apparent_Energy | 3621 | 9975 | 2967 | CB01 | double | kVAh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_Sum_Apparent_Energy
152151 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Apparent_Power | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Apparent_Power
152152 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Apparent_Power_Avg | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Apparent_Power_Avg
152153 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Apparent_Power_Max | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Apparent_Power_Max
152154 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Apparent_Power_Min | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Apparent_Power_Min
152155 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Apparent_Power | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Apparent_Power
152156 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Apparent_Power_Avg | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Apparent_Power_Avg
152157 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Apparent_Power_Max | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Apparent_Power_Max
152158 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Apparent_Power_Min | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Apparent_Power_Min
152159 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Apparent_Power | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Apparent_Power
152160 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Apparent_Power_Avg | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Apparent_Power_Avg
152161 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Apparent_Power_Max | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Apparent_Power_Max
152162 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Apparent_Power_Min | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Apparent_Power_Min
152163 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Apparent_Power_Min | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Apparent_Power_Min
152164 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Apparent_Power_Max | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Apparent_Power_Max
152165 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Apparent_Power_Avg | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Apparent_Power_Avg
152166 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Apparent_Power | 3621 | 9975 | 2948 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Apparent_Power
152167 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Configuration_Branch_Branch_Label | 3621 | 9975 | 2971 | CB01 | string |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Configuration_Branch_Branch_Label
152168 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Configuration_N_CT_Transformer_Ratio[k] | 3621 | 9975 | 2972 | CB01 | double | ratio | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Configuration_N_CT_Transformer_Ratio[k]
152169 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Configuration_PhaseA_CT_Transformer_Ratio[k] | 3621 | 9975 | 2972 | CB01 | double | ratio | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Configuration_PhaseA_CT_Transformer_Ratio[k]
152170 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Configuration_PhaseB_CT_Transformer_Ratio[k] | 3621 | 9975 | 2972 | CB01 | double | ratio | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Configuration_PhaseB_CT_Transformer_Ratio[k]
152171 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Configuration_PhaseC_CT_Transformer_Ratio[k] | 3621 | 9975 | 2972 | CB01 | double | ratio | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Configuration_PhaseC_CT_Transformer_Ratio[k]
152172 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_Complex_Imag | 3621 | 9975 | 2956 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_Complex_Imag
152173 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_Complex_Imag | 3621 | 9975 | 2956 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_Complex_Imag
152174 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_Complex_Imag | 3621 | 9975 | 2956 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_Complex_Imag
152175 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_Complex_Imag | 3621 | 9975 | 2956 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_Complex_Imag
152176 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_Complex_Real | 3621 | 9975 | 2957 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_Complex_Real
152177 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_Complex_Real | 3621 | 9975 | 2957 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_Complex_Real
152178 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_Complex_Real | 3621 | 9975 | 2957 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_Complex_Real
152179 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_Complex_Real | 3621 | 9975 | 2957 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_Complex_Real
152180 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_Crest_Factor | 3621 | 9975 | 2958 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_Crest_Factor
152181 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_Crest_Factor | 3621 | 9975 | 2958 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_Crest_Factor
152182 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_Crest_Factor | 3621 | 9975 | 2958 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_Crest_Factor
152183 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_Crest_Factor | 3621 | 9975 | 2958 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_Crest_Factor
152184 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_Harmonic[k] | 3621 | 9975 | 2959 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_Harmonic[k]
152185 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_Harmonic[k] | 3621 | 9975 | 2959 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_Harmonic[k]
152186 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_Harmonic[k] | 3621 | 9975 | 2959 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_Harmonic[k]
152187 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_Harmonic[k] | 3621 | 9975 | 2959 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_Harmonic[k]
152188 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_Load_Pct_Avg | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_Load_Pct_Avg
152189 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_Load_Pct_Max | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_Load_Pct_Max
152190 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_Load_Pct_Min | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_Load_Pct_Min
152191 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_Load_Pct | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_Load_Pct
152192 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_Load_Pct_Avg | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_Load_Pct_Avg
152193 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_Load_Pct_Max | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_Load_Pct_Max
152194 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_Load_Pct_Min | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_Load_Pct_Min
152195 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_Load_Pct | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_Load_Pct
152196 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_Load_Pct_Avg | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_Load_Pct_Avg
152197 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_Load_Pct_Max | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_Load_Pct_Max
152198 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_Load_Pct_Min | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_Load_Pct_Min
152199 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_Load_Pct | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_Load_Pct
152200 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_Load_Pct_Avg | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_Load_Pct_Avg
152201 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_Load_Pct_Max | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_Load_Pct_Max
152202 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_Load_Pct_Min | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_Load_Pct_Min
152203 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_Load_Pct | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_Load_Pct
152204 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_Load_Pct_Avg | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_Load_Pct_Avg
152205 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_Load_Pct_Max | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_Load_Pct_Max
152206 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_Load_Pct_Min | 3621 | 9975 | 2953 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_Load_Pct_Min
152207 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_RMS_Min | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_RMS_Min
152208 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_RMS_Max | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_RMS_Max
152209 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_RMS_Avg | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_RMS_Avg
152210 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_RMS | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_RMS
152211 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_RMS_Max | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_RMS_Max
152212 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_RMS_Min | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_RMS_Min
152213 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_RMS_Min | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_RMS_Min
152214 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_RMS_Max | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_RMS_Max
152215 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_RMS_Avg | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_RMS_Avg
152216 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_RMS_Min | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_RMS_Min
152217 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_RMS_Max | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_RMS_Max
152218 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_RMS_Min | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_RMS_Min
152219 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_RMS_Max | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_RMS_Max
152220 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_RMS_Avg | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_RMS_Avg
152221 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_RMS_Avg | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_RMS_Avg
152222 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_RMS | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_RMS
152223 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_RMS | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_RMS
152224 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_RMS | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_RMS
152225 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_RMS_Avg | 3621 | 9975 | 2937 | CB01 | double | A | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_RMS_Avg
152226 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_TDD_Min | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_TDD_Min
152227 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_TDD_Max | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_TDD_Max
152228 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_TDD_Avg | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_TDD_Avg
152229 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_TDD | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_TDD
152230 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_TDD_Min | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_TDD_Min
152231 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_TDD | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_TDD
152232 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_TDD_Avg | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_TDD_Avg
152233 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_TDD_Max | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_TDD_Max
152234 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_TDD_Min | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_TDD_Min
152235 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_TDD_Max | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_TDD_Max
152236 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_TDD_Avg | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_TDD_Avg
152237 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_TDD | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_TDD
152238 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_TDD_Min | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_TDD_Min
152239 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_TDD_Max | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_TDD_Max
152240 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_TDD_Avg | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_TDD_Avg
152241 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_TDD | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_TDD
152242 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_TDD_Avg | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_TDD_Avg
152243 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_TDD_Max | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_TDD_Max
152244 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_TDD_Min | 3621 | 9975 | 2952 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_TDD_Min
152245 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_THD_Avg | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_THD_Avg
152246 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_THD_Max | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_THD_Max
152247 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_AvgPhases_Current_THD_Min | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_AvgPhases_Current_THD_Min
152248 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_THD | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_THD
152249 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_THD_Avg | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_THD_Avg
152250 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_THD_Max | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_THD_Max
152251 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseN_Current_THD_Min | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseN_Current_THD_Min
152252 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_THD | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_THD
152253 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_THD_Avg | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_THD_Avg
152254 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_THD_Max | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_THD_Max
152255 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseA_Current_THD_Min | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseA_Current_THD_Min
152256 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_THD | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_THD
152257 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_THD_Avg | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_THD_Avg
152258 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_THD_Max | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_THD_Max
152259 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseB_Current_THD_Min | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseB_Current_THD_Min
152260 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_THD | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_THD
152261 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_THD_Avg | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_THD_Avg
152262 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_THD_Max | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_THD_Max
152263 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_PhaseC_Current_THD_Min | 3621 | 9975 | 2951 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_PhaseC_Current_THD_Min
152264 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Current_System_Current_Unbalance | 3621 | 9975 | 2894 | CB01 | double | % | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Current_System_Current_Unbalance
152265 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Distortion_Power_Max | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Distortion_Power_Max
152266 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Distortion_Power | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Distortion_Power
152267 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Distortion_Power_Avg | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Distortion_Power_Avg
152268 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Distortion_Power_Max | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Distortion_Power_Max
152269 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Distortion_Power_Min | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Distortion_Power_Min
152270 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Distortion_Power | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Distortion_Power
152271 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Distortion_Power_Avg | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Distortion_Power_Avg
152272 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Distortion_Power_Max | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Distortion_Power_Max
152273 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Distortion_Power_Min | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Distortion_Power_Min
152274 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Distortion_Power_Avg | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Distortion_Power_Avg
152275 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Distortion_Power_Max | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Distortion_Power_Max
152276 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Distortion_Power_Min | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Distortion_Power_Min
152277 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Distortion_Power_Avg | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Distortion_Power_Avg
152278 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Distortion_Power | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Distortion_Power
152279 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Distortion_Power_Min | 3621 | 9975 | 2961 | CB01 | double | kVA | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Distortion_Power_Min
152280 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Power_Factor_Avg | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Power_Factor_Avg
152281 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Power_Factor | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Power_Factor
152282 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Power_Factor_Avg | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Power_Factor_Avg
152283 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Power_Factor_Max | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Power_Factor_Max
152284 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Power_Factor_Min | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Power_Factor_Min
152285 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Power_Factor_Max | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Power_Factor_Max
152286 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Power_Factor_Min | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Power_Factor_Min
152287 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Power_Factor | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Power_Factor
152288 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Power_Factor_Avg | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Power_Factor_Avg
152289 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Power_Factor_Max | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Power_Factor_Max
152290 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Power_Factor_Min | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Power_Factor_Min
152291 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Power_Factor | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Power_Factor
152292 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Power_Factor_Avg | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Power_Factor_Avg
152293 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Power_Factor_Max | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Power_Factor_Max
152294 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Power_Factor_Min | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Power_Factor_Min
152295 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Power_Factor | 3621 | 9975 | 2950 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Power_Factor
152296 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Power_Factor_Fundamental_Min | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Power_Factor_Fundamental_Min
152297 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Power_Factor_Fundamental_Max | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Power_Factor_Fundamental_Max
152298 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Power_Factor_Fundamental_Avg | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Power_Factor_Fundamental_Avg
152299 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Power_Factor_Fundamental | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Power_Factor_Fundamental
152300 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Power_Factor_Fundamental_Min | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Power_Factor_Fundamental_Min
152301 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Power_Factor_Fundamental_Max | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Power_Factor_Fundamental_Max
152302 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Power_Factor_Fundamental_Avg | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Power_Factor_Fundamental_Avg
152303 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Power_Factor_Fundamental | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Power_Factor_Fundamental
152304 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Power_Factor_Fundamental_Min | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Power_Factor_Fundamental_Min
152305 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Power_Factor_Fundamental_Max | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Power_Factor_Fundamental_Max
152306 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Power_Factor_Fundamental_Avg | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Power_Factor_Fundamental_Avg
152307 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Power_Factor_Fundamental | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Power_Factor_Fundamental
152308 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Power_Factor_Fundamental_Min | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Power_Factor_Fundamental_Min
152309 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Power_Factor_Fundamental_Max | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Power_Factor_Fundamental_Max
152310 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Power_Factor_Fundamental_Avg | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Power_Factor_Fundamental_Avg
152311 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Power_Factor_Fundamental | 3621 | 9975 | 2962 | CB01 | double |  | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Power_Factor_Fundamental
152312 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseA_Reactive_Energy | 3621 | 9975 | 2968 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseA_Reactive_Energy
152313 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseB_Reactive_Energy | 3621 | 9975 | 2968 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseB_Reactive_Energy
152314 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseC_Reactive_Energy | 3621 | 9975 | 2968 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseC_Reactive_Energy
152315 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_Sum_Reactive_Energy | 3621 | 9975 | 2968 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_Sum_Reactive_Energy
152316 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_Sum_Reactive_Energy_Consumed_Capacitive | 3621 | 9975 | 2969 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_Sum_Reactive_Energy_Consumed_Capacitive
152317 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseC_Reactive_Energy_Consumed_Capacitive | 3621 | 9975 | 2969 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseC_Reactive_Energy_Consumed_Capacitive
152318 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseB_Reactive_Energy_Consumed_Capacitive | 3621 | 9975 | 2969 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseB_Reactive_Energy_Consumed_Capacitive
152319 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseA_Reactive_Energy_Consumed_Capacitive | 3621 | 9975 | 2969 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseA_Reactive_Energy_Consumed_Capacitive
152320 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseA_Reactive_Energy_Consumed_Inductive | 3621 | 9975 | 2970 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseA_Reactive_Energy_Consumed_Inductive
152321 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseB_Reactive_Energy_Consumed_Inductive | 3621 | 9975 | 2970 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseB_Reactive_Energy_Consumed_Inductive
152322 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_PhaseC_Reactive_Energy_Consumed_Inductive | 3621 | 9975 | 2970 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_PhaseC_Reactive_Energy_Consumed_Inductive
152323 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Energy_Sum_Reactive_Energy_Consumed_Inductive | 3621 | 9975 | 2970 | CB01 | double | kVARh | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Energy_Sum_Reactive_Energy_Consumed_Inductive
152324 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Reactive_Power | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Reactive_Power
152325 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Reactive_Power_Avg | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Reactive_Power_Avg
152326 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Reactive_Power_Min | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Reactive_Power_Min
152327 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Reactive_Power_Max | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Reactive_Power_Max
152328 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Reactive_Power_Avg | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Reactive_Power_Avg
152329 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Reactive_Power | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Reactive_Power
152330 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Reactive_Power_Min | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Reactive_Power_Min
152331 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Reactive_Power_Max | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Reactive_Power_Max
152332 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Reactive_Power_Avg | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Reactive_Power_Avg
152333 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Reactive_Power | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Reactive_Power
152334 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Reactive_Power_Min | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Reactive_Power_Min
152335 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Reactive_Power_Max | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Reactive_Power_Max
152336 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Reactive_Power_Avg | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Reactive_Power_Avg
152337 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Reactive_Power | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Reactive_Power
152338 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Reactive_Power_Min | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Reactive_Power_Min
152339 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Reactive_Power_Max | 3621 | 9975 | 2949 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Reactive_Power_Max
152340 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Reactive_Power_Fundamental_Min | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Reactive_Power_Fundamental_Min
152341 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Reactive_Power_Fundamental_Max | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Reactive_Power_Fundamental_Max
152342 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Reactive_Power_Fundamental_Avg | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Reactive_Power_Fundamental_Avg
152343 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseA_Reactive_Power_Fundamental | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseA_Reactive_Power_Fundamental
152344 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Reactive_Power_Fundamental_Min | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Reactive_Power_Fundamental_Min
152345 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Reactive_Power_Fundamental_Max | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Reactive_Power_Fundamental_Max
152346 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Reactive_Power_Fundamental_Avg | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Reactive_Power_Fundamental_Avg
152347 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_Sum_Reactive_Power_Fundamental | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_Sum_Reactive_Power_Fundamental
152348 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Reactive_Power_Fundamental_Min | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Reactive_Power_Fundamental_Min
152349 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Reactive_Power_Fundamental_Max | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Reactive_Power_Fundamental_Max
152350 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Reactive_Power_Fundamental_Avg | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Reactive_Power_Fundamental_Avg
152351 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseC_Reactive_Power_Fundamental | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseC_Reactive_Power_Fundamental
152352 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Reactive_Power_Fundamental_Min | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Reactive_Power_Fundamental_Min
152353 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Reactive_Power_Fundamental_Max | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Reactive_Power_Fundamental_Max
152354 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Reactive_Power_Fundamental_Avg | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Reactive_Power_Fundamental_Avg
152355 | Hyper.RIC.HyperHub.Lab.Red_PDU.CB01.Power_PhaseB_Reactive_Power_Fundamental | 3621 | 9975 | 2963 | CB01 | double | kVAR | TRUE | 2026-06-18 14:32:19.87441+00 | 2026-06-18 14:32:19.87441+00 | CB01 | Power_PhaseB_Reactive_Power_Fundamental